|  |
| --- |
| **SPECTRO系列ICP消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPECTRO系列ICP消耗品   |  |  | | --- | --- | | Spectro (Ametek)|ICP-OES|SOP (Modula, CIROS, Genesis, ARCOS)|Radial |  | | 雾化器 |  | | 48205040 | SeaSpray U-Series Nebulizer uptake=0.4ml/min | | 76060510 | Conikal uptake=2.4ml/min | | 48205040 | SeaSpray Nebulizer-400 | | 雾化室 |  | | 48106015 | Jacketed Twister | | 48205041 | Cinnabar | | 48105003 | Small Upward Conical | | 48105006 | Large Double Pass | | 炬管 |  | | 14111100 | Polypropylene Ball Joint Adaptor | | 750-05 | Spectroflame Quartz Torch 1.8mm injector AG0.5 | | 48205011 | Spectroflame Quartz Torch 1.0mm Injector AG1.0 | | 75060596 | Spectroflame Quartz Torch 1.8mm injector AG0.5 with gas fittings | | S75008 | Quartz Torch 2.5mm injector with gas fittings | | 75060520 | Torch Mount for Spectro Radial FDT | | 48206002 | Spectro DT Tube Assembly with 3 gas inlets | | 48105008 | Quartz Injector for Spectro DT 1.5mm | | 48105010 | Quartz Injector for Spectro DT 1.8mm | | 48105009 | Quartz Injector for Spectro DT 2.5mm | | 48205010 | Torch Bonnet | | 75060545 | Demountable, Spectroflame | | 75160538 | Housing for Demountable Torch | |  |  | | Spectro (Ametek)|ICP-OES|EOP (Modula, CIROS, Genesis, ARCOS)|Axial |  | | 雾化器 |  | | 76060510 | Conikal uptake=2.4ml/min | | 75060502 | Nebulizer, Fixed Cross-Flow | | 炬管 |  | | 14111100 | Polypropylene Ball Joint Adaptor | | 48105052, S75040 | Spectro EOP Quartz Torch 2.5mm injector, 4mm OD side arms | | S75048, 750-48 | Spectro EOP Fixed Sheath Gas Torch 3.0mm injector | | 75160526 | Spectro EOP Quartz Torch 2.5mm injector with gas fittings | | 75160537 | Spectro EOP Fixed Sheath Gas Torch 3.0mm injector with gas fittings | | 75160592 | Spectro EOP Torch 1.8mm injector, Flared End, with gas fittings | | 75160586 | Torch Mount for Spectro EOP FDT | | 750-44 | Spectro EOP Demountable Flared End Torch Tube Assembly | | 48206007 | Spectro EOP Demountable Torch Tube Assembly | | 48105058 | Spectro EOP Demountable Torch Injector Tube 2.5mm | |