|  |
| --- |
| **THERMO系列ICP-MS消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THERMO系列ICP-MS消耗品   |  |  | | --- | --- | | Thermo (Finnigan)|ICP-MS|Finnigan Element 1, Element 2, Neptune|Axial |  | | 雾化器 |  | | 1110720 | Conikal U-Series Nebulizer uptake=1ml/min | | 1110720 | Conikal with EzyFit uptake=1ml/min | | 1161870 | MicroMist Nebulizer-200 | | 雾化室 |  | | 1161860 | Twinnabar | | 1150840 | Quartz Twinnabar | | 3200841 | Water Cooled, Quartz | | 3203739 | Thermo Controlled Maxim | | 3204313 | Impact, Water Cooled | | 3200727 | Elbow, Ball & Socket | | 炬管 |  | | 1085440, 850-06 | Finnigan Element Quartz Torch 1.5mm injector, 6mm OD side arms | | S85026 | Quartz Torch Bonnet, Long | | 1091250, S85012 | Finnigan Element Semi Demountable Quartz Torch Body, 6mm OD side arms | | 1200080 | Torch Body, Demountable | | 3203095 | Torch Body, Corrosion Resistant (CR) | | 1200079 | Alumina Injector | | 1200274 | Torch Bonnet Cap | | 3203025 | RF Insulator Shield | | 炬管组件 |  | | 46-0037 | Tapered Quartz Injector 1.0mm | | 46-0028 | Tapered Quartz Injector 1.8mm | | 3203789 | Torch Shield | | 1201261 | Clamp, Stainless Steel, No. 12 | | 1202081 | Clamp, Stainless Steel, No. 18 | | 3007383 | UV Laser Sample Cell | | 3201104 | Probe UV Laser Sample Cell | | 3202287 | Quartz Sleeve | | 3201759 | Quartz Tube | | 3200176 | Quartz Sleeve, Silica | | 3201070 | Quartz Sleeve, Silica | | 3200004 | Quartz Socket Tube Adapter | | 1041167 | Glass Probe | | 锥 |  | | 1044530, T1001-Ni/Cu | Nickel Sampler, 12mm Ni insert, Cu base | | T1001-Ni | 100% Nickel Sampler | | T1001-Al | Aluminium Sampler | | 1067600, T1002A-Ni | Nickel Skimmer | | T1002A-Al | Aluminium Skimmer | | 1142160, T1002X-Ni | Nickel X-Skimmer | | T1002X-Al | Aluminium X-Skimmer | | T1003-Ni | Nickel Accelerator | | T1006A-Pt/Cu | Platinum Sampler, Cu Base | | 1067510, T1007-Pt | Platinum Skimmer, Ni base | | T1007X-Pt | Platinum X-skimmer | | 1042620, T5001 | Graphite Sampler Cone Gasket | | 其他部件 |  | | 1161890 | Standard Sample Tubing 1.3mm OD x 0.75mm ID x 10m long | | 1161900 | UniFit with 1.3mm OD X 0.75mm ID x 700mm long sampe tube (PKT. 3) | | 1161990 | Eluo Nebulizer Cleaning Tool | |  |  | | Thermo (VG)|ICP-MS|PlasmaQuad, Axiom|Axial |  | | 雾化器 |  | | 1600289 | Conikal U-Series Nebulizer uptake=1ml/min | | 1201318, VELE1201318 | Conikal U-Series Nebulizer uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing | | 1600372 | MicroMist U-Series Nebulizer uptake=0.1ml/min with sample tubing 0.25 x 1.3 x 2000mm | | AR351C1JA | Conikal uptake=1ml/min | | 1600289 | Conikal with EzyFit uptake=1ml/min | | 1201318, VELE1201318 | Conikal with EzyFit uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing | | 4600294 | Conikal Nebulizer-STF with EzyLok Fitting, and 2Mtr's of 1/16" x 0.5mm standard sample tubing, and spacing collar | | 1201831, VELE1201831 | MicroMist with EzyFit uptake=0.4ml/min | | 1600372 | MicroMist Nebulizer with EzyLok & sample tubing 0.25 x 1.3 x 2M | | 炬管 |  | | 3201192, S45005 | Mmass/VG Quartz Torch 1.5mm Injector, 6mm OD side arms | | 3201732, 45006 | Mmass/VG Quartz Torch 2mm Injector, 6mm OD side arms | | 3204703, 45028 | Quartz Torch Bonnet for Axiom, 72mm OD | | 46-0040 | Glass Torch Body | | 46-0011 | Quartz Inner Tube | | 46-0028 | Tapered Quartz Injector 1.8mm | | 锥 |  | | 3004661, VG1001-Ni | Nickel Sampler (also suitable for PQE) | | VG1001-Al | Aluminum Sampler Cone | | 3200860, VG1004-Ni | Nickel Micro-skimmer | | VG1004-Al | Aluminum Skimmer | | 3200262, VG1006A-Pt | Platinum Sampler | | 3201101, VG1008-Pt | Platinum Micro-skimmer | | 3201457, VG1014-Ni | Nickel PT2 (P54) Skimmer | |  |  | | Thermo (VG)|ICP-MS|X Series|Axial |  | | 雾化器 |  | | 1600289 | Conikal U-Series Nebulizer uptake=1ml/min | | 1201318, VELE1201318 | Conikal U-Series Nebulizer uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing | | 1201831, VELE1201831 | MicroMist U-Series Nebulizer uptake=0.4ml/min | | AR351C1JA | Conikal uptake=1ml/min | | 1201318, VELE1201318 | Conikal with EzyFit uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing | | 1201831, VELE1201831 | MicroMist with EzyFit uptake=0.4ml/min | | 炬管 |  | | 3601145, 3600969 | X-Series Fixed Torch with 1.5mm injector | | 3601147, 3600791 | X-Series Fixed Torch with 2.0mm injector | | 3601149 | Quartz Bonnet for X-Series | | 3601219 | Silver screen | | 3601146 | X-Series Semi Demountable Torch Body | | 锥 |  | | 3600812, VG1021-Ni/Cu | Nickel/Copper base Sampler, X Series | | VG1021-Ni | Nickel Sampler, 100% Nickel | | 3600811, VG1022-Ni | Nickel Skimmer, X Series | | 3600813, VG1023-Cu | Skimmer Interface, X Series | | 3601289, VG1026A-Pt/Cu | Platinum Sampler | | VG1028-Pt | Platinum Skimmer, X Series | | 3004382, VG5001 | Graphite Sampler Cone Gasket | |