|  |
| --- |
| **THERMO系列ICP-MS消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THERMO系列ICP-MS消耗品

|  |  |
| --- | --- |
| Thermo (Finnigan)|ICP-MS|Finnigan Element 1, Element 2, Neptune|Axial  | 　 |
| 雾化器 | 　 |
| 1110720  | Conikal U-Series Nebulizer uptake=1ml/min |
| 1110720  | Conikal with EzyFit uptake=1ml/min  |
| 1161870  | MicroMist Nebulizer-200 |
| 雾化室 | 　 |
| 1161860  | Twinnabar |
| 1150840  | Quartz Twinnabar |
| 3200841  | Water Cooled, Quartz  |
| 3203739  | Thermo Controlled Maxim  |
| 3204313  | Impact, Water Cooled  |
| 3200727  | Elbow, Ball & Socket  |
| 炬管 | 　 |
| 1085440, 850-06 | Finnigan Element Quartz Torch 1.5mm injector, 6mm OD side arms |
| S85026 | Quartz Torch Bonnet, Long |
| 1091250, S85012 | Finnigan Element Semi Demountable Quartz Torch Body, 6mm OD side arms  |
| 1200080  | Torch Body, Demountable  |
| 3203095  | Torch Body, Corrosion Resistant (CR)  |
| 1200079  | Alumina Injector  |
| 1200274  | Torch Bonnet Cap  |
| 3203025  | RF Insulator Shield  |
| 炬管组件 | 　 |
| 46-0037 | Tapered Quartz Injector 1.0mm |
| 46-0028 | Tapered Quartz Injector 1.8mm |
| 3203789  | Torch Shield  |
| 1201261  | Clamp, Stainless Steel, No. 12  |
| 1202081  | Clamp, Stainless Steel, No. 18  |
| 3007383  | UV Laser Sample Cell  |
| 3201104  | Probe UV Laser Sample Cell  |
| 3202287  | Quartz Sleeve  |
| 3201759  | Quartz Tube  |
| 3200176  | Quartz Sleeve, Silica  |
| 3201070  | Quartz Sleeve, Silica  |
| 3200004  | Quartz Socket Tube Adapter  |
| 1041167  | Glass Probe  |
| 锥 | 　 |
| 1044530, T1001-Ni/Cu | Nickel Sampler, 12mm Ni insert, Cu base |
| T1001-Ni | 100% Nickel Sampler |
| T1001-Al | Aluminium Sampler |
| 1067600, T1002A-Ni | Nickel Skimmer |
| T1002A-Al | Aluminium Skimmer |
| 1142160, T1002X-Ni | Nickel X-Skimmer |
| T1002X-Al | Aluminium X-Skimmer |
| T1003-Ni | Nickel Accelerator |
| T1006A-Pt/Cu | Platinum Sampler, Cu Base |
| 1067510, T1007-Pt | Platinum Skimmer, Ni base |
| T1007X-Pt | Platinum X-skimmer |
| 1042620, T5001 | Graphite Sampler Cone Gasket |
| 其他部件 | 　 |
| 1161890  | Standard Sample Tubing 1.3mm OD x 0.75mm ID x 10m long |
| 1161900  | UniFit with 1.3mm OD X 0.75mm ID x 700mm long sampe tube (PKT. 3) |
| 1161990  | Eluo Nebulizer Cleaning Tool |
| 　 | 　 |
| Thermo (VG)|ICP-MS|PlasmaQuad, Axiom|Axial  | 　 |
| 雾化器 | 　 |
| 1600289  | Conikal U-Series Nebulizer uptake=1ml/min |
| 1201318, VELE1201318 | Conikal U-Series Nebulizer uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing |
| 1600372  | MicroMist U-Series Nebulizer uptake=0.1ml/min with sample tubing 0.25 x 1.3 x 2000mm |
| AR351C1JA | Conikal uptake=1ml/min |
| 1600289  | Conikal with EzyFit uptake=1ml/min |
| 1201318, VELE1201318 | Conikal with EzyFit uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing |
| 4600294  | Conikal Nebulizer-STF with EzyLok Fitting, and 2Mtr's of 1/16" x 0.5mm standard sample tubing, and spacing collar |
| 1201831, VELE1201831 | MicroMist with EzyFit uptake=0.4ml/min  |
| 1600372  | MicroMist Nebulizer with EzyLok & sample tubing 0.25 x 1.3 x 2M |
| 炬管 | 　 |
| 3201192, S45005 | Mmass/VG Quartz Torch 1.5mm Injector, 6mm OD side arms |
| 3201732, 45006 | Mmass/VG Quartz Torch 2mm Injector, 6mm OD side arms |
| 3204703, 45028 | Quartz Torch Bonnet for Axiom, 72mm OD |
| 46-0040 | Glass Torch Body |
| 46-0011 | Quartz Inner Tube |
| 46-0028 | Tapered Quartz Injector 1.8mm |
| 锥 | 　 |
| 3004661, VG1001-Ni | Nickel Sampler (also suitable for PQE) |
| VG1001-Al | Aluminum Sampler Cone |
| 3200860, VG1004-Ni | Nickel Micro-skimmer  |
| VG1004-Al | Aluminum Skimmer |
| 3200262, VG1006A-Pt | Platinum Sampler |
| 3201101, VG1008-Pt | Platinum Micro-skimmer |
| 3201457, VG1014-Ni | Nickel PT2 (P54) Skimmer |
| 　 | 　 |
| Thermo (VG)|ICP-MS|X Series|Axial  | 　 |
| 雾化器 | 　 |
| 1600289  | Conikal U-Series Nebulizer uptake=1ml/min |
| 1201318, VELE1201318 | Conikal U-Series Nebulizer uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing |
| 1201831, VELE1201831 | MicroMist U-Series Nebulizer uptake=0.4ml/min  |
| AR351C1JA | Conikal uptake=1ml/min |
| 1201318, VELE1201318 | Conikal with EzyFit uptake=1ml/min with 1.3mm x 0.75mm x 2m Sample Tubing |
| 1201831, VELE1201831 | MicroMist with EzyFit uptake=0.4ml/min  |
| 炬管 | 　 |
| 3601145, 3600969 | X-Series Fixed Torch with 1.5mm injector |
| 3601147, 3600791 | X-Series Fixed Torch with 2.0mm injector |
| 3601149  | Quartz Bonnet for X-Series |
| 3601219  | Silver screen |
| 3601146  | X-Series Semi Demountable Torch Body |
| 锥 | 　 |
| 3600812, VG1021-Ni/Cu | Nickel/Copper base Sampler, X Series |
| VG1021-Ni | Nickel Sampler, 100% Nickel |
| 3600811, VG1022-Ni | Nickel Skimmer, X Series |
| 3600813, VG1023-Cu | Skimmer Interface, X Series |
| 3601289, VG1026A-Pt/Cu | Platinum Sampler |
| VG1028-Pt | Platinum Skimmer, X Series |
| 3004382, VG5001 | Graphite Sampler Cone Gasket |

 |