|  |
| --- |
| **THERMO系列ICP消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THERMO系列ICP消耗品

|  |  |
| --- | --- |
| Thermo (TJA)|ICP-OES|Iris, Tracescan, Trace, Advantage, Intrepid|Axial  | 　 |
| 雾化器 | 　 |
| 13918400  | Conikal U-Series Nebulizer uptake=2ml/min |
| 1210000  | Conikal U-Series Nebulizer uptake=1ml/min |
| 14186300  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 13436500A | Conikal uptake=2ml/min |
| 13918400  | Conikal with EzyFit uptake=2ml/min |
| 1210000  | Conikal with EzyFit uptake=1ml/min |
| 14186300  | SeaSpray with EzyFit uptake=2ml/min |
| 47-929-008  | Crossflow Nebulizer  |
| 915375  | Concentric (K-Type, 3.0 ml/min @ 35 psi)  |
| 915817  | Noordermeer V-Groove MDSN Glass Nebulizer  |
| 雾化室 | 　 |
| 13966200  | Tracey with 4mm pumped Drain |
| 13966200  | Tracey with 4mm pumped Drain |
| 13612000  | Tracey with 9.6mm Gravity Drain |
| 炬管 | 　 |
| 12643203, 275-10 | TJA Axial Standard Torch with 1.5mm injector |
| 12644003  | TJA Axial Standard Torch without injector |
| 12540700  | Tapered Quartz Injector 1.5mm (for TJA standard torch) |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 14111300  | PT2000 TJA Axial Torch (all quartz tubes) |
| 14278200  | Glass Torch Body |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 14110200  | Quartz Outer Tube |
| 14110000  | Quartz Inner Tube |
| 14110500  | Tapered Quartz Injector 1.8mm |
| 136436-01  | Injector Tip, Alumina, 1.5 mm  |
| 炬管组件 | 　 |
| 13507100  | Mounting Plate for TJA Axial or Duo Torch |
| 14110500  | Tapered Quartz Injector 1.8mm |
| 14110600  | Capillary Quartz Injector 1.0mm |
| 14385700  | Capillary Quartz Injector 1.5mm |
| 14110200  | Quartz Outer Tube |
| 14110000  | Quartz Inner Tube |
| 14109800  | PT2000 TJA Torch Base |
| 14278200  | Glass Torch Body |
| 14278200  | Glass Torch Body |
| OKT-0472 | O'ring Kit |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 12540700  | Tapered Quartz Injector 1.5mm (for TJA standard torch) |
| 12644003  | TJA Axial Standard Torch without injector |
| 线圈 | 　 |
| 076595-00, 07659500 | TJA Iris Axial/Duo, Silver |
| 　 | 　 |
| Thermo (TJA)|ICP-OES|Iris Duo|Axial  | 　 |
| 雾化器 | 　 |
| 13918400  | Conikal U-Series Nebulizer uptake=2ml/min |
| 1210000  | Conikal U-Series Nebulizer uptake=1ml/min |
| 14186300  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 13436500A | Conikal uptake=2ml/min |
| 13918400  | Conikal with EzyFit uptake=2ml/min |
| 1210000  | Conikal with EzyFit uptake=1ml/min |
| 14186300  | SeaSpray with EzyFit uptake=2ml/min |
| 炬管 | 　 |
| 13856200, 275-10DV | TJA DV Standard Torch with 1.5mm injector |
| 12644005  | TJA DV Standard Torch without injector |
| 12540700  | Tapered Quartz Injector 1.5mm (for TJA standard torch) |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 14278200  | Glass Torch Body |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 14110300  | Quartz Outer Tube (3mm port hole)  |
| 14110000  | Quartz Inner Tube |
| 14110500  | Tapered Quartz Injector 1.8mm |
| 炬管组件 | 　 |
| 13507100  | Mounting Plate for TJA Axial or Duo Torch |
| 14110500  | Tapered Quartz Injector 1.8mm |
| 14110300  | Quartz Outer Tube (3mm port hole)  |
| 14110000  | Quartz Inner Tube |
| 14134600  | Quartz Outer Tube - Duo short |
| 14278200  | Glass Torch Body |
| 14110300  | Quartz Outer Tube (3mm port hole)  |
| 14110000  | Quartz Inner Tube |
| 其他部件 | 　 |
| 12644005  | TJA DV Standard Torch without injector |
| 12540700  | Tapered Quartz Injector 1.5mm (for TJA standard torch) |
| 31-808-1320 | 　 |
| 13768900, 13856300 | Torch Optic Sleeve DV (for TJA standard torch) |
| 13300600  | Universal Sipper Probe (Pkt 2) |
| 线圈 | 　 |
| 076595-00, 07659500 | TJA Iris, Silver |
| 　 | 　 |
| Thermo (TJA)|ICP-OES|Iris, Atomscan 16 & 25, ICAP & 61E, Intrepid|Radial  | 　 |
| 雾化器 | 　 |
| 13918400  | Conikal U-Series Nebulizer uptake=2ml/min |
| 1210000  | Conikal U-Series Nebulizer uptake=1ml/min |
| 14186300  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 13918400  | Conikal with EzyFit uptake=2ml/min |
| 1210000  | Conikal with EzyFit uptake=1ml/min |
| 14186300  | SeaSpray with EzyFit uptake=2ml/min |
| 133202-50  | O-Ring Kit for, 2 per pk 35mm Diameter  |
| 雾化室 | 　 |
| 13966300  | Tracey with 9.6mm outlet (TJA design standard torch only) |
| 13966300  | Tracey with 9.6mm outlet (TJA design standard torch only) |
| 13008900  | Curved Drain,Open End  |
| 14054200  | Cyclonic, Radial, Pump  |
| 13610500  | Cyclonic, with 12 mm Drain  |
| 炬管 | 　 |
| 12643202, 275-06 | TJA Radial Standard High/Low Flow Torch with 1.5mm aqueous injector |
| 12644002, 275-06W/O | TJA Radial Standard High/Low Flow Torch without injector |
| 12540700  | Tapered Quartz Injector 1.5mm (TJA standard torch only) |
| 12643201, 275-07 | TJA Radial Standard High Flow Torch with 1.5mm aqueous injector |
| 12644001  | TJA Radial Standard High Flow Torch without injector |
| 12540700  | Tapered Quartz Injector 1.5mm (TJA standard torch only) |
| 12512401, 275-08 | TJA Radial Standard High Flow Torch with 1.0mm organics injector |
| 12644001  | TJA Radial Standard High Flow Torch without injector |
| 12540701  | Tapered Quartz Injector 1.0mm (TJA standard torch only) |
| 126440003  | ABC TJA Radial Torch (all quartz tubes) |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 14278200  | Glass Torch Body |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 14110100  | Quartz Outer Tube |
| 14110000  | Quartz Inner Tube |
| 14110500  | Tapered Quartz Injector 1.8mm |
| 127179-01  | Ceramic BaseTorch,High Flow w/ Alumina Injector 1.5 mm  |
| 136440-01  | Ceramic BaseTorch,High Flow w/o Injector  |
| 134204-00  | Teflon Adapter, Torch  |
| 136436-01  | Injector Tip, Alumina, 1.5 mm  |
| 炬管组件 | 　 |
| 12567800  | Mounting Plate for TJA Radial Torch |
| 14110500  | Tapered Quartz Injector 1.8mm |
| 14110100  | Quartz Outer Tube |
| 14110000  | Quartz Inner Tube |
| 14131800, 46-0036 | Extended Quartz Outer Tube |
| 14131700  | Quartz Outer Tube - Slotted |
| 14109800  | PT2000 TJA Torch Base |
| 14278200  | Glass Torch Body |
| 14278200  | Glass Torch Body |
| OKT-0304 | O'ring Kit |
| 14228900  | Polypropylene 9.6mm Joint Adaptor, straight |
| 其他部件 | 　 |
| 12644001  | TJA Radial Standard High Flow Torch without injector |
| 12644002, 275-06W/O | TJA Radial Standard High/Low Flow Torch without injector |
| 08520700, 275-25 | TJA Anti-arc Cap |
| 08520701, 275-26 | TJA Anti-arc Cap, Flat Edge |
| 12540701  | Tapered Quartz Injector 1.0mm (TJA standard torch only) |
| 12540700  | Tapered Quartz Injector 1.5mm (TJA standard torch only) |
| 13650201  | Capillary Quartz Injector 2.0mm (TJA standard torch only) |
| 13650202  | Capillary Quartz Injector 2.4mm (TJA standard torch only) |
| 套件 | 　 |
| 14186300  | SeaSpray with EzyFit 2 ml/min uptake, with EzyLok arm |
| EZT-075 | 　 |
| 126440003  | ABC TJA Radial Torch (all quartz tubes) |
| 　 | 　 |
| Thermo (TJA)|ICP-OES|iCAP6000 Duo|Axial  | 　 |
| 雾化器 | 　 |
| 842312051431  | Conikal U-Series Nebulizer uptake=2ml/min |
| 842312051331  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 842312051431  | Conikal with EzyFit uptake=2ml/min |
| 842312051331  | SeaSpray with EzyFit uptake=2ml/min |
| IsoMist程序制冷雾化室 | 　 |
| 842312051641  | IsoMist Kit for Thermo iCAP 6000 Duo |
| 雾化室 | 　 |
| 842312051411  | Tracey |
| 842312051311  | Twister |
| 842312051251  | Right Angle Ball Joint Adaptor |
| 842312051421  | Metal Ball Joint Clip |
| 炬管 | 　 |
| 842312051241  | Quartz Torch for iCAP 6000 Duo |
| 842312051841  | Quartz Torch for iCAP 6000 Duo (EMT) |
| 炬管组件 | 　 |
| 842312051951  | Tapered Quartz Injector 1.5mm (EMT) |
| 842312051971  | Capillary Quartz Injector 2.0mm (EMT) |
| 842312051941  | Tapered Quartz Injector 1.0mm (EMT) |
| 842312051591  | Duo Periscope Window |
| 842312051351  | Tapered Quartz Injector 1.5mm |
| 842312051371  | Capillary Quartz Injector 2.0mm |
| 842312051341  | Tapered Quartz Injector 1.0mm |
| 842312051591  | Duo Periscope Window |
| 套件 | 　 |
| 842312051971  | Capillary Quartz Injector 2.0mm (EMT) |
| 842312051251  | Right Angle Ball Joint Adaptor |
| 842312051411  | Tracey |
| 842312051431  | Conikal U-Series Nebulizer uptake=2ml/min |
| 842312051511  | Flared End PVC Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) |
| 842312051521  | Flared End PVC Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) |
| 842312051941  | Tapered Quartz Injector 1.0mm (EMT) |
| 842312051251  | Right Angle Ball Joint Adaptor |
| 842312051311  | Twister |
| 842312051531  | Flared End Solva Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) |
| 842312051541  | Flared End Solva Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) |
| 842312051941  | Tapered Quartz Injector 1.0mm (EMT) |
| 842312051641  | IsoMist Kit for Thermo iCAP 6000 Duo |
| 842312051531  | Flared End Solva Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) |
| 842312051541  | Flared End Solva Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) |
| 842312051971  | Capillary Quartz Injector 2.0mm (EMT) |
| 842312051251  | Right Angle Ball Joint Adaptor |
| 842312051311  | Twister |
| 842312051331  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 842312051511  | Flared End PVC Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) |
| 842312051521  | Flared End PVC Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) |
| 　 | 　 |
| Thermo (TJA)|ICP-OES|iCAP6000 Radial|Radial  | 　 |
| 雾化器 | 　 |
| 　 | 　 |
| 842312051431  | Conikal U-Series Nebulizer uptake=2ml/min |
| 842312051331  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 842312051431  | Conikal with EzyFit uptake=2ml/min |
| 842312051331  | SeaSpray with EzyFit uptake=2ml/min |
| IsoMist程序制冷雾化室 | 　 |
| 842312051651  | IsoMist Kit for Thermo iCAP 6000 Radial |
| 雾化室 | 　 |
| 842312051411  | Tracey |
| 842312051311  | Twister |
| 842312051151  | Straight Ball Joint Adaptor |
| 842312051421  | Metal Ball Joint Clip |
| 炬管 | 　 |
| 842312051141  | Quartz Torch for iCAP 6000 Radial |
| 842312051741  | Quartz Torch for iCAP 6000 Radial (EMT) |
| 炬管组件 | 　 |
| 842312051951  | Tapered Quartz Injector 1.5mm (EMT) |
| 842312051971  | Capillary Quartz Injector 2.0mm (EMT) |
| 842312051941  | Tapered Quartz Injector 1.0mm (EMT) |
| 842312051351  | Tapered Quartz Injector 1.5mm |
| 842312051371  | Capillary Quartz Injector 2.0mm |
| 842312051341  | Tapered Quartz Injector 1.0mm |
| 套件 | 　 |
| 842312051951  | Tapered Quartz Injector 1.5mm (EMT) |
| 842312051151  | Straight Ball Joint Adaptor |
| 842312051411  | Tracey |
| 842312051431  | Conikal U-Series Nebulizer uptake=2ml/min |
| 842312051511  | Flared End PVC Pump Tube 0.64mm ID orange/white (pkt 6) |
| 842312051521  | Flared End PVC Pump Tube 1.02mm ID white/white (pkt 6) |
| 842312051941  | Tapered Quartz Injector 1.0mm (EMT) |
| 842312051151  | Straight Ball Joint Adaptor |
| 842312051311  | Twister |
| 842312051531  | Flared End Solva Pump Tube 0.64mm ID orange/white (pkt 6) |
| 842312051541  | Flared End Solva Pump Tube 1.02mm ID white/white (pkt 6) |
| 842312051941  | Tapered Quartz Injector 1.0mm (EMT) |
| 842312051651  | IsoMist Kit for Thermo iCAP 6000 Radial |
| 842312051531  | Flared End Solva Pump Tube 0.64mm ID orange/white (pkt 6) |
| 842312051541  | Flared End Solva Pump Tube 1.02mm ID white/white (pkt 6) |
| 842312051971  | Capillary Quartz Injector 2.0mm (EMT) |
| 842312051151  | Straight Ball Joint Adaptor |
| 842312051311  | Twister |
| 842312051331  | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 842312051511  | Flared End PVC Pump Tube 0.64mm ID orange/white (pkt 6) |
| 842312051521  | Flared End PVC Pump Tube 1.02mm ID white/white (pkt 6) |
| 　 | 　 |
| Thermo (ARL)|ICP-OES|Maxim|Axial  | 　 |
| 雾化器 | 　 |
| 3203409, VELE4202175 | Conikal uptake=2ml/min |
| VELEAR64-04-C2 | Conikal uptake=2ml/min |
| 炬管 | 　 |
| S111403, S11038 | Maxim Standard Quartz Torch 1.5mm Injector, 4mm OD side arms |
| S213787, 110-45 | Maxim C/R Torch Body |
| 3202715, 809-9100 | Maxim Super Torch with Quartz Tubes |
| 1201597, 809-8023 | Quartz Outer Tube |
| 1201598, 809-8021, 1802027 | Quartz Inner Tube |
| 1201599, 809-8020, 1802028 | Capillary Quartz Injector 1.8mm |
| 1201619, 809-8016 | Right Angle Glass Ball Joint |
| 炬管组件 | 　 |
| 1201599, 809-8020, 1802028 | Capillary Quartz Injector 1.8mm |
| 1201598, 809-8021, 1802027 | Quartz Inner Tube |
| 1201597, 809-8023 | Quartz Outer Tube |
| 1201619, 809-8016 | Right Angle Glass Ball Joint |
| 1201620  | O'ring Set for Maxim Torch |
| 46-0037 | Tapered Quartz Injector 1.0mm |
| 46-0028 | Tapered Quartz Injector 1.8mm |
| 46-0010 | Quartz Outer Tube |
| 46-0011 | Quartz Inner Tube |
| 46-0028 | Tapered Quartz Injector 1.8mm |
| 46-0010 | Quartz Outer Tube |
| 46-0011 | Quartz Inner Tube |
| 3202715, 809-9100 | Maxim Super Torch with Quartz Tubes |

 |