|  |
| --- |
| **THERMO系列ICP消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THERMO系列ICP消耗品   |  |  | | --- | --- | | Thermo (TJA)|ICP-OES|Iris, Tracescan, Trace, Advantage, Intrepid|Axial |  | | 雾化器 |  | | 13918400 | Conikal U-Series Nebulizer uptake=2ml/min | | 1210000 | Conikal U-Series Nebulizer uptake=1ml/min | | 14186300 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 13436500A | Conikal uptake=2ml/min | | 13918400 | Conikal with EzyFit uptake=2ml/min | | 1210000 | Conikal with EzyFit uptake=1ml/min | | 14186300 | SeaSpray with EzyFit uptake=2ml/min | | 47-929-008 | Crossflow Nebulizer | | 915375 | Concentric (K-Type, 3.0 ml/min @ 35 psi) | | 915817 | Noordermeer V-Groove MDSN Glass Nebulizer | | 雾化室 |  | | 13966200 | Tracey with 4mm pumped Drain | | 13966200 | Tracey with 4mm pumped Drain | | 13612000 | Tracey with 9.6mm Gravity Drain | | 炬管 |  | | 12643203, 275-10 | TJA Axial Standard Torch with 1.5mm injector | | 12644003 | TJA Axial Standard Torch without injector | | 12540700 | Tapered Quartz Injector 1.5mm (for TJA standard torch) | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 14111300 | PT2000 TJA Axial Torch (all quartz tubes) | | 14278200 | Glass Torch Body | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 14110200 | Quartz Outer Tube | | 14110000 | Quartz Inner Tube | | 14110500 | Tapered Quartz Injector 1.8mm | | 136436-01 | Injector Tip, Alumina, 1.5 mm | | 炬管组件 |  | | 13507100 | Mounting Plate for TJA Axial or Duo Torch | | 14110500 | Tapered Quartz Injector 1.8mm | | 14110600 | Capillary Quartz Injector 1.0mm | | 14385700 | Capillary Quartz Injector 1.5mm | | 14110200 | Quartz Outer Tube | | 14110000 | Quartz Inner Tube | | 14109800 | PT2000 TJA Torch Base | | 14278200 | Glass Torch Body | | 14278200 | Glass Torch Body | | OKT-0472 | O'ring Kit | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 12540700 | Tapered Quartz Injector 1.5mm (for TJA standard torch) | | 12644003 | TJA Axial Standard Torch without injector | | 线圈 |  | | 076595-00, 07659500 | TJA Iris Axial/Duo, Silver | |  |  | | Thermo (TJA)|ICP-OES|Iris Duo|Axial |  | | 雾化器 |  | | 13918400 | Conikal U-Series Nebulizer uptake=2ml/min | | 1210000 | Conikal U-Series Nebulizer uptake=1ml/min | | 14186300 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 13436500A | Conikal uptake=2ml/min | | 13918400 | Conikal with EzyFit uptake=2ml/min | | 1210000 | Conikal with EzyFit uptake=1ml/min | | 14186300 | SeaSpray with EzyFit uptake=2ml/min | | 炬管 |  | | 13856200, 275-10DV | TJA DV Standard Torch with 1.5mm injector | | 12644005 | TJA DV Standard Torch without injector | | 12540700 | Tapered Quartz Injector 1.5mm (for TJA standard torch) | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 14278200 | Glass Torch Body | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 14110300 | Quartz Outer Tube (3mm port hole) | | 14110000 | Quartz Inner Tube | | 14110500 | Tapered Quartz Injector 1.8mm | | 炬管组件 |  | | 13507100 | Mounting Plate for TJA Axial or Duo Torch | | 14110500 | Tapered Quartz Injector 1.8mm | | 14110300 | Quartz Outer Tube (3mm port hole) | | 14110000 | Quartz Inner Tube | | 14134600 | Quartz Outer Tube - Duo short | | 14278200 | Glass Torch Body | | 14110300 | Quartz Outer Tube (3mm port hole) | | 14110000 | Quartz Inner Tube | | 其他部件 |  | | 12644005 | TJA DV Standard Torch without injector | | 12540700 | Tapered Quartz Injector 1.5mm (for TJA standard torch) | | 31-808-1320 |  | | 13768900, 13856300 | Torch Optic Sleeve DV (for TJA standard torch) | | 13300600 | Universal Sipper Probe (Pkt 2) | | 线圈 |  | | 076595-00, 07659500 | TJA Iris, Silver | |  |  | | Thermo (TJA)|ICP-OES|Iris, Atomscan 16 & 25, ICAP & 61E, Intrepid|Radial |  | | 雾化器 |  | | 13918400 | Conikal U-Series Nebulizer uptake=2ml/min | | 1210000 | Conikal U-Series Nebulizer uptake=1ml/min | | 14186300 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 13918400 | Conikal with EzyFit uptake=2ml/min | | 1210000 | Conikal with EzyFit uptake=1ml/min | | 14186300 | SeaSpray with EzyFit uptake=2ml/min | | 133202-50 | O-Ring Kit for, 2 per pk 35mm Diameter | | 雾化室 |  | | 13966300 | Tracey with 9.6mm outlet (TJA design standard torch only) | | 13966300 | Tracey with 9.6mm outlet (TJA design standard torch only) | | 13008900 | Curved Drain,Open End | | 14054200 | Cyclonic, Radial, Pump | | 13610500 | Cyclonic, with 12 mm Drain | | 炬管 |  | | 12643202, 275-06 | TJA Radial Standard High/Low Flow Torch with 1.5mm aqueous injector | | 12644002, 275-06W/O | TJA Radial Standard High/Low Flow Torch without injector | | 12540700 | Tapered Quartz Injector 1.5mm (TJA standard torch only) | | 12643201, 275-07 | TJA Radial Standard High Flow Torch with 1.5mm aqueous injector | | 12644001 | TJA Radial Standard High Flow Torch without injector | | 12540700 | Tapered Quartz Injector 1.5mm (TJA standard torch only) | | 12512401, 275-08 | TJA Radial Standard High Flow Torch with 1.0mm organics injector | | 12644001 | TJA Radial Standard High Flow Torch without injector | | 12540701 | Tapered Quartz Injector 1.0mm (TJA standard torch only) | | 126440003 | ABC TJA Radial Torch (all quartz tubes) | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 14278200 | Glass Torch Body | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 14110100 | Quartz Outer Tube | | 14110000 | Quartz Inner Tube | | 14110500 | Tapered Quartz Injector 1.8mm | | 127179-01 | Ceramic BaseTorch,High Flow w/ Alumina Injector 1.5 mm | | 136440-01 | Ceramic BaseTorch,High Flow w/o Injector | | 134204-00 | Teflon Adapter, Torch | | 136436-01 | Injector Tip, Alumina, 1.5 mm | | 炬管组件 |  | | 12567800 | Mounting Plate for TJA Radial Torch | | 14110500 | Tapered Quartz Injector 1.8mm | | 14110100 | Quartz Outer Tube | | 14110000 | Quartz Inner Tube | | 14131800, 46-0036 | Extended Quartz Outer Tube | | 14131700 | Quartz Outer Tube - Slotted | | 14109800 | PT2000 TJA Torch Base | | 14278200 | Glass Torch Body | | 14278200 | Glass Torch Body | | OKT-0304 | O'ring Kit | | 14228900 | Polypropylene 9.6mm Joint Adaptor, straight | | 其他部件 |  | | 12644001 | TJA Radial Standard High Flow Torch without injector | | 12644002, 275-06W/O | TJA Radial Standard High/Low Flow Torch without injector | | 08520700, 275-25 | TJA Anti-arc Cap | | 08520701, 275-26 | TJA Anti-arc Cap, Flat Edge | | 12540701 | Tapered Quartz Injector 1.0mm (TJA standard torch only) | | 12540700 | Tapered Quartz Injector 1.5mm (TJA standard torch only) | | 13650201 | Capillary Quartz Injector 2.0mm (TJA standard torch only) | | 13650202 | Capillary Quartz Injector 2.4mm (TJA standard torch only) | | 套件 |  | | 14186300 | SeaSpray with EzyFit 2 ml/min uptake, with EzyLok arm | | EZT-075 |  | | 126440003 | ABC TJA Radial Torch (all quartz tubes) | |  |  | | Thermo (TJA)|ICP-OES|iCAP6000 Duo|Axial |  | | 雾化器 |  | | 842312051431 | Conikal U-Series Nebulizer uptake=2ml/min | | 842312051331 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 842312051431 | Conikal with EzyFit uptake=2ml/min | | 842312051331 | SeaSpray with EzyFit uptake=2ml/min | | IsoMist程序制冷雾化室 |  | | 842312051641 | IsoMist Kit for Thermo iCAP 6000 Duo | | 雾化室 |  | | 842312051411 | Tracey | | 842312051311 | Twister | | 842312051251 | Right Angle Ball Joint Adaptor | | 842312051421 | Metal Ball Joint Clip | | 炬管 |  | | 842312051241 | Quartz Torch for iCAP 6000 Duo | | 842312051841 | Quartz Torch for iCAP 6000 Duo (EMT) | | 炬管组件 |  | | 842312051951 | Tapered Quartz Injector 1.5mm (EMT) | | 842312051971 | Capillary Quartz Injector 2.0mm (EMT) | | 842312051941 | Tapered Quartz Injector 1.0mm (EMT) | | 842312051591 | Duo Periscope Window | | 842312051351 | Tapered Quartz Injector 1.5mm | | 842312051371 | Capillary Quartz Injector 2.0mm | | 842312051341 | Tapered Quartz Injector 1.0mm | | 842312051591 | Duo Periscope Window | | 套件 |  | | 842312051971 | Capillary Quartz Injector 2.0mm (EMT) | | 842312051251 | Right Angle Ball Joint Adaptor | | 842312051411 | Tracey | | 842312051431 | Conikal U-Series Nebulizer uptake=2ml/min | | 842312051511 | Flared End PVC Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) | | 842312051521 | Flared End PVC Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) | | 842312051941 | Tapered Quartz Injector 1.0mm (EMT) | | 842312051251 | Right Angle Ball Joint Adaptor | | 842312051311 | Twister | | 842312051531 | Flared End Solva Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) | | 842312051541 | Flared End Solva Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) | | 842312051941 | Tapered Quartz Injector 1.0mm (EMT) | | 842312051641 | IsoMist Kit for Thermo iCAP 6000 Duo | | 842312051531 | Flared End Solva Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) | | 842312051541 | Flared End Solva Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) | | 842312051971 | Capillary Quartz Injector 2.0mm (EMT) | | 842312051251 | Right Angle Ball Joint Adaptor | | 842312051311 | Twister | | 842312051331 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 842312051511 | Flared End PVC Pump Tube 2 Tag 0.64mm ID orange/white (Pkt 6) | | 842312051521 | Flared End PVC Pump Tube 2 Tag 1.02mm ID white/white (Pkt 6) | |  |  | | Thermo (TJA)|ICP-OES|iCAP6000 Radial|Radial |  | | 雾化器 |  | |  |  | | 842312051431 | Conikal U-Series Nebulizer uptake=2ml/min | | 842312051331 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 842312051431 | Conikal with EzyFit uptake=2ml/min | | 842312051331 | SeaSpray with EzyFit uptake=2ml/min | | IsoMist程序制冷雾化室 |  | | 842312051651 | IsoMist Kit for Thermo iCAP 6000 Radial | | 雾化室 |  | | 842312051411 | Tracey | | 842312051311 | Twister | | 842312051151 | Straight Ball Joint Adaptor | | 842312051421 | Metal Ball Joint Clip | | 炬管 |  | | 842312051141 | Quartz Torch for iCAP 6000 Radial | | 842312051741 | Quartz Torch for iCAP 6000 Radial (EMT) | | 炬管组件 |  | | 842312051951 | Tapered Quartz Injector 1.5mm (EMT) | | 842312051971 | Capillary Quartz Injector 2.0mm (EMT) | | 842312051941 | Tapered Quartz Injector 1.0mm (EMT) | | 842312051351 | Tapered Quartz Injector 1.5mm | | 842312051371 | Capillary Quartz Injector 2.0mm | | 842312051341 | Tapered Quartz Injector 1.0mm | | 套件 |  | | 842312051951 | Tapered Quartz Injector 1.5mm (EMT) | | 842312051151 | Straight Ball Joint Adaptor | | 842312051411 | Tracey | | 842312051431 | Conikal U-Series Nebulizer uptake=2ml/min | | 842312051511 | Flared End PVC Pump Tube 0.64mm ID orange/white (pkt 6) | | 842312051521 | Flared End PVC Pump Tube 1.02mm ID white/white (pkt 6) | | 842312051941 | Tapered Quartz Injector 1.0mm (EMT) | | 842312051151 | Straight Ball Joint Adaptor | | 842312051311 | Twister | | 842312051531 | Flared End Solva Pump Tube 0.64mm ID orange/white (pkt 6) | | 842312051541 | Flared End Solva Pump Tube 1.02mm ID white/white (pkt 6) | | 842312051941 | Tapered Quartz Injector 1.0mm (EMT) | | 842312051651 | IsoMist Kit for Thermo iCAP 6000 Radial | | 842312051531 | Flared End Solva Pump Tube 0.64mm ID orange/white (pkt 6) | | 842312051541 | Flared End Solva Pump Tube 1.02mm ID white/white (pkt 6) | | 842312051971 | Capillary Quartz Injector 2.0mm (EMT) | | 842312051151 | Straight Ball Joint Adaptor | | 842312051311 | Twister | | 842312051331 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 842312051511 | Flared End PVC Pump Tube 0.64mm ID orange/white (pkt 6) | | 842312051521 | Flared End PVC Pump Tube 1.02mm ID white/white (pkt 6) | |  |  | | Thermo (ARL)|ICP-OES|Maxim|Axial |  | | 雾化器 |  | | 3203409, VELE4202175 | Conikal uptake=2ml/min | | VELEAR64-04-C2 | Conikal uptake=2ml/min | | 炬管 |  | | S111403, S11038 | Maxim Standard Quartz Torch 1.5mm Injector, 4mm OD side arms | | S213787, 110-45 | Maxim C/R Torch Body | | 3202715, 809-9100 | Maxim Super Torch with Quartz Tubes | | 1201597, 809-8023 | Quartz Outer Tube | | 1201598, 809-8021, 1802027 | Quartz Inner Tube | | 1201599, 809-8020, 1802028 | Capillary Quartz Injector 1.8mm | | 1201619, 809-8016 | Right Angle Glass Ball Joint | | 炬管组件 |  | | 1201599, 809-8020, 1802028 | Capillary Quartz Injector 1.8mm | | 1201598, 809-8021, 1802027 | Quartz Inner Tube | | 1201597, 809-8023 | Quartz Outer Tube | | 1201619, 809-8016 | Right Angle Glass Ball Joint | | 1201620 | O'ring Set for Maxim Torch | | 46-0037 | Tapered Quartz Injector 1.0mm | | 46-0028 | Tapered Quartz Injector 1.8mm | | 46-0010 | Quartz Outer Tube | | 46-0011 | Quartz Inner Tube | | 46-0028 | Tapered Quartz Injector 1.8mm | | 46-0010 | Quartz Outer Tube | | 46-0011 | Quartz Inner Tube | | 3202715, 809-9100 | Maxim Super Torch with Quartz Tubes | |