|  |
| --- |
| **VARIAN系列ICP消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VARIAN系列ICP消耗品   |  |  | | --- | --- | | Varian|ICP-OES|700-ES Series Radial, Vista Radial, Liberty 100/120/150/200/220|Radial |  | | 雾化器 |  | | 20-100964, 20100964, 2010096400 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 20-100695, 2010069500, 2010106800 | Conikal with EzyFit uptake=3ml/min | | 20-100964, 20100964, 2010096400 | SeaSpray with EzyFit uptake=2ml/min | | 雾化室 |  | | 20-100817, 2010081700 | Tracey | | 20-100817, 20100817 | Tracey | | 7910043700 | Twister | | 炬管 |  | | 2010069600, 2010069690, S80005 | Varian Radial Torch-Low Flow 1.4mm Injector | | 2010095000 | Varian Radial Quartz Torch - High Solids | | 2010069608, 2010117400 | Quartz Radial Quartz with 0.8mm Injector for Varian | | 7910044500, 79-100445-00 | Varian Radial ABC Fully Demountable Torch | | 2010095600, 20-100956-00 | Quartz Injector 1.5mm Fully Demountable | | 2010095300, 20-100953-00 | Tube intermediate fully demountable | | 2010095500, 20-100955-00 | Tube outer fully demountable radial | | 9910108200, 99-101082-00 | Kit O-rings fully demountable torch | | 2010070790, S80025 | Varian Radial Quartz Torch Bonnet | | 炬管组件 |  | | 2010096000, 20-100960-00 | Quartz Injector 1.0mm Fully Demountable | | 2010095600, 20-100956-00 | Quartz Injector 1.5mm Fully Demountable | | 2010101800, 20-101018-00 | Quartz Injector 1.8mm Fully Demountable | | 2010095400, 20-100954-00 | Quartz Injector 2.4mm Fully Demountable | | 2010095500, 20-100955-00 | Tube outer fully demountable radial | | 2010095300, 20-100953-00 | Tube intermediate fully demountable | | 2010070790, S80025 | Varian Radial Quartz Torch Bonnet | | 7910052900 | Varian Radial Torch with Ball Joint, 1.4mm Injector | | 7910052600 | Twister with Helix | | 7910052700 | Glass Transfer Tube-160 (links 808-0875 to spray chamber with ball joint), + JC-13 Clip | | 810187500 | CSC Adjustable Mount, Radial | | 套件 |  | | 7910044500, 79-100445-00 | Varian Radial ABC Fully Demountable Torch | | 2010070790, S80025 | Varian Radial Quartz Torch Bonnet | | 线圈 |  | | 9910128000 | Varian 700-ES Series Radial, Gold | | 01-105904-90, 0110590490 | Varian Series 2 Radial, Gold | | 01-103579-90, 0110357990 | Varian Series 1 Radial, Gold | |  |  | | Varian|ICP-OES|700-ES Series Axial, Vista Axial|Axial |  | | 雾化器 |  | | 20-100976, 20100976, 2010097600 | Slurry U-Series Nebulizer uptake=4ml/min | | 20-100964, 20100964, 2010096400 | SeaSpray U-Series Nebulizer uptake=2ml/min | | 20-100695, 2010069500 | Conikal with EzyFit uptake=3ml/min | | 20-100976, 20100976, 2010097600 | Slurry with EzyFit uptake=4ml/min | | 雾化室 |  | | 7910052500 | Twister | | 20-100817, 20100817, 2010081700 | Tracey | | 7910043700 | Twister | | 炬管 |  | | 2010090400, 2010092800, 800-12 | Varian Axial Quartz Torch with 90 Deg. Bend & 2.3mm Injector, 6mm OD side arms | | 2010094800, 800-13 | Axial High Solids Quartz Torch (Short) with 90 Deg. Bend & 2.3mm Injector | | 2010104600 | Axial High Solids Quartz Torch (Full Length) with 90 Deg. Bend & 2.3mm Injector | | 2010081200, S80014 | Varian Axial Quartz Torch 2.3mm Injector, 6mm OD side arms | | 2010104700 | Varian Axial Quartz Torch with 90 Deg. Bend & 0.8mm Injector, 6mm OD side arms | | 7910044400, 79-100444-00 | Varian Axial ABC Fully Demountable Torch | | 2010095400, 20-100954-00 | Quartz Injector 2.4mm Fully Demountable | | 2010095300, 20-100953-00 | IntermediateTube, Fully Demountable | | 2010095200, 20-100952-00 | Outer Tube, Fully Demountable Axial | | 9910108200, 99-101082-00 | Kit O-rings fully demountable torch | | 炬管组件 |  | | 2010096000, 20-100960-00 | Tapered Quartz Injector 1.0mm Fully Demountable | | 2010095600, 20-100956-00 | Tapered Quartz Injector 1.5mm Fully Demountable | | 2010101800, 20-101018-00 | Tapered Quartz Injector 1.8mm Fully Demountable | | 2010095400, 20-100954-00 | Tapered Quartz Injector 2.4mm Fully Demountable | | 2010095200, 20-100952-00 | Outer Tube, Fully Demountable Axial | | 2010120300 | Outer Tube, Fully Demountable Axial, High Solids | | 2010095300, 20-100953-00 | IntermediateTube, Fully Demountable | | 7910050700 | Varian Axial Quartz Torch RA/FS13 & 2.3mm Injector, 6mm OD side arms | | 7910052800 | Glass Transfer Tube (links 808-0540 to spray chamber with ball joint) + JC-13 Clip | | 810187600 | CSC Adjustable Mount, Axial | | 套件 |  | | 7910044400, 79-100444-00 | Varian Axial ABC Fully Demountable Torch | | 线圈 |  | | 01-106012-90, 0110601290 | Varian Vista Axial, Gold | | 炬管组件 |  | | 2010095900, 20-100959-00 | Ceramic Injector 1.8mm Fully Demountable | | 2010101700, 20-101017-00 | Ceramic Injector 2.4mm Fully Demountable | |  |  | | Varian|ICP-OES|Liberty Series II Axial|Axial |  | | 雾化器 |  | | 20-100977, 20100977, 2010097700 | Slurry U-Series Nebulizer uptake=4ml/min | | 20-100816, 20100816, 2010081600 | Conikal uptake=3ml/min | | 20-100977, 20100977, 2010097700 | Slurry with EzyFit uptake=4ml/min | | AR30-1-CV6 |  | | 雾化室 |  | | 20-100817, 20100817, 2010081700 | Tracey | | 7910043700 | Twister | | 炬管 |  | | 2010090400, 2010092800, 800-12 | Varian Axial Quartz Torch with 90 Deg. Bend & 2.3mm Injector, 6mm OD side arms | | 2010081200, S80014 | Varian Axial Quartz Torch 2.3mm Injector, 6mm OD side arms | | 线圈 |  | | 01-106012-90, 0110601290 | Varian Series 2 Axial, Gold | |