|  |
| --- |
| **VARIAN系列ICP消耗品** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VARIAN系列ICP消耗品

|  |  |
| --- | --- |
| Varian|ICP-OES|700-ES Series Radial, Vista Radial, Liberty 100/120/150/200/220|Radial  | 　 |
| 雾化器 | 　 |
| 20-100964, 20100964, 2010096400 | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 20-100695, 2010069500, 2010106800 | Conikal with EzyFit uptake=3ml/min |
| 20-100964, 20100964, 2010096400 | SeaSpray with EzyFit uptake=2ml/min |
| 雾化室 | 　 |
| 20-100817, 2010081700 | Tracey |
| 20-100817, 20100817 | Tracey |
| 7910043700  | Twister |
| 炬管 | 　 |
| 2010069600, 2010069690, S80005 | Varian Radial Torch-Low Flow 1.4mm Injector |
| 2010095000  | Varian Radial Quartz Torch - High Solids |
| 2010069608, 2010117400 | Quartz Radial Quartz with 0.8mm Injector for Varian |
| 7910044500, 79-100445-00 | Varian Radial ABC Fully Demountable Torch |
| 2010095600, 20-100956-00 | Quartz Injector 1.5mm Fully Demountable |
| 2010095300, 20-100953-00 | Tube intermediate fully demountable |
| 2010095500, 20-100955-00 | Tube outer fully demountable radial |
| 9910108200, 99-101082-00 | Kit O-rings fully demountable torch |
| 2010070790, S80025 | Varian Radial Quartz Torch Bonnet |
| 炬管组件 | 　 |
| 2010096000, 20-100960-00 | Quartz Injector 1.0mm Fully Demountable |
| 2010095600, 20-100956-00 | Quartz Injector 1.5mm Fully Demountable |
| 2010101800, 20-101018-00 | Quartz Injector 1.8mm Fully Demountable |
| 2010095400, 20-100954-00 | Quartz Injector 2.4mm Fully Demountable |
| 2010095500, 20-100955-00 | Tube outer fully demountable radial |
| 2010095300, 20-100953-00 | Tube intermediate fully demountable |
| 2010070790, S80025 | Varian Radial Quartz Torch Bonnet |
| 7910052900  | Varian Radial Torch with Ball Joint, 1.4mm Injector |
| 7910052600  | Twister with Helix |
| 7910052700  | Glass Transfer Tube-160 (links 808-0875 to spray chamber with ball joint), + JC-13 Clip |
| 810187500  | CSC Adjustable Mount, Radial |
| 套件 | 　 |
| 7910044500, 79-100445-00 | Varian Radial ABC Fully Demountable Torch |
| 2010070790, S80025 | Varian Radial Quartz Torch Bonnet |
| 线圈 | 　 |
| 9910128000  | Varian 700-ES Series Radial, Gold |
| 01-105904-90, 0110590490 | Varian Series 2 Radial, Gold |
| 01-103579-90, 0110357990 | Varian Series 1 Radial, Gold |
| 　 | 　 |
| Varian|ICP-OES|700-ES Series Axial, Vista Axial|Axial  | 　 |
| 雾化器 | 　 |
| 20-100976, 20100976, 2010097600 | Slurry U-Series Nebulizer uptake=4ml/min |
| 20-100964, 20100964, 2010096400 | SeaSpray U-Series Nebulizer uptake=2ml/min |
| 20-100695, 2010069500 | Conikal with EzyFit uptake=3ml/min |
| 20-100976, 20100976, 2010097600 | Slurry with EzyFit uptake=4ml/min  |
| 雾化室 | 　 |
| 7910052500  | Twister |
| 20-100817, 20100817, 2010081700 | Tracey |
| 7910043700  | Twister |
| 炬管 | 　 |
| 2010090400, 2010092800, 800-12 | Varian Axial Quartz Torch with 90 Deg. Bend & 2.3mm Injector, 6mm OD side arms |
| 2010094800, 800-13 | Axial High Solids Quartz Torch (Short) with 90 Deg. Bend & 2.3mm Injector |
| 2010104600  | Axial High Solids Quartz Torch (Full Length) with 90 Deg. Bend & 2.3mm Injector |
| 2010081200, S80014 | Varian Axial Quartz Torch 2.3mm Injector, 6mm OD side arms |
| 2010104700  | Varian Axial Quartz Torch with 90 Deg. Bend & 0.8mm Injector, 6mm OD side arms |
| 7910044400, 79-100444-00 | Varian Axial ABC Fully Demountable Torch |
| 2010095400, 20-100954-00 | Quartz Injector 2.4mm Fully Demountable |
| 2010095300, 20-100953-00 | IntermediateTube, Fully Demountable |
| 2010095200, 20-100952-00 | Outer Tube, Fully Demountable Axial |
| 9910108200, 99-101082-00 | Kit O-rings fully demountable torch |
| 炬管组件 | 　 |
| 2010096000, 20-100960-00 | Tapered Quartz Injector 1.0mm Fully Demountable |
| 2010095600, 20-100956-00 | Tapered Quartz Injector 1.5mm Fully Demountable |
| 2010101800, 20-101018-00 | Tapered Quartz Injector 1.8mm Fully Demountable |
| 2010095400, 20-100954-00 | Tapered Quartz Injector 2.4mm Fully Demountable |
| 2010095200, 20-100952-00 | Outer Tube, Fully Demountable Axial |
| 2010120300  | Outer Tube, Fully Demountable Axial, High Solids |
| 2010095300, 20-100953-00 | IntermediateTube, Fully Demountable |
| 7910050700  | Varian Axial Quartz Torch RA/FS13 & 2.3mm Injector, 6mm OD side arms |
| 7910052800  | Glass Transfer Tube (links 808-0540 to spray chamber with ball joint) + JC-13 Clip |
| 810187600  | CSC Adjustable Mount, Axial |
| 套件 | 　 |
| 7910044400, 79-100444-00 | Varian Axial ABC Fully Demountable Torch |
| 线圈 | 　 |
| 01-106012-90, 0110601290 | Varian Vista Axial, Gold |
| 炬管组件 | 　 |
| 2010095900, 20-100959-00 | Ceramic Injector 1.8mm Fully Demountable |
| 2010101700, 20-101017-00 | Ceramic Injector 2.4mm Fully Demountable |
| 　 | 　 |
| Varian|ICP-OES|Liberty Series II Axial|Axial  | 　 |
| 雾化器 | 　 |
| 20-100977, 20100977, 2010097700 | Slurry U-Series Nebulizer uptake=4ml/min |
| 20-100816, 20100816, 2010081600 | Conikal uptake=3ml/min |
| 20-100977, 20100977, 2010097700 | Slurry with EzyFit uptake=4ml/min |
| AR30-1-CV6 | 　 |
| 雾化室 | 　 |
| 20-100817, 20100817, 2010081700 | Tracey |
| 7910043700  | Twister |
| 炬管 | 　 |
| 2010090400, 2010092800, 800-12 | Varian Axial Quartz Torch with 90 Deg. Bend & 2.3mm Injector, 6mm OD side arms |
| 2010081200, S80014 | Varian Axial Quartz Torch 2.3mm Injector, 6mm OD side arms |
| 线圈 | 　 |
| 01-106012-90, 0110601290 | Varian Series 2 Axial, Gold |

 |